Construction Features

2 x 6 (minimum) Exterior Framed Walls

Interior Walls Framed 16” on center

Fully Sheated Exterior Plywood

Recessed Window Detail

Upgraded Roof Underlayment

Synthetic Stucco System

3000 psi concrete

Natural Gas Homes (where available)

Exterior Features

Multiple Height Elevations

Andersen Windows

Classic Exterior Doors

Color-thru Concrete Roof Tile

Roof Venting to Rear

Large Covered Patios with High Arches

Significant Allowance for Front Entry Door*

Synthetic Stucco and Color Coat System

Insulation Package

1” Foam Panel over ½” Plywood

Exterior Walls - Closed Cell Foam Insulation x 6”

Roof – Open Cell Foam Insulation to Roof Deck x 6”

Garage Overhead Doors w/Insulated Foam Panels

Dual Glazed Window Glass

Electrical Systems

200A min. Electrical Service w/100A Sub-Panel

Recessed Lighting Fixtures

Cabinet Lighting in Kitchen (Above and Below)

Ceiling Fans Wired Thru-out

Prep for Outdoor Lighting System

Prep for Irrigation

Prep for Pool/Spa

Jacuzzi Circuit

Liftmaster Belt Drive Garage Door Openers

Plumbing Systems

75 Gallon Hot Water Heater

Soft Water Loop

Reverse Osmosis Line To Refrigerator and Sink

Kohler 8” Wide-Spread Vanity Faucets

Moen Shower Valves

Toto Hi-Seat Toilets w/Self Closing Lids

Laundry Sink

HVAC Systems

Bryant or Carrier 13.5+ SEER Air Conditioning Units

Programmable Electronic Thermostats

Conveniently Accessed Unit Installation

Low Voltage Systems

ADEMCO Whole-House Security System

Central Vacuum Pre-piped

Surround Sound System Pre-wire

Structured Wiring Interface Panel

(8) RG6 Cable or Satellite Outlets

(8) Cat5 Phone/Network Outlets

Gourmet Kitchen Features

Custom Select Alder Wood Cabinets w/42” Uppers

Custom Refrigerator and Dishwasher Doors

3cm Level III Granite Countertops

Under-mount Granite Composite Sink

Pull-out Trash Container

Significant Appliance Allowance*

Walk-in Pantry

Interior Doors

8’ Solid Wood Canyon Custom Doors

4 Coat Wood Finish

Emtek Door Hardware

Flooring

Travertine Flooring Thru-out Main Living Area

Plush Berber Carpet in Bedrooms and Closets*

Accessories

Significant Allowance for Bathroom Accessories*

Framed Mirrors*

Interior Features

9’ to 14’ Ceiling Heights

Santa Fe Drywall Finish

2-Tone Dunn Edwards Paint

Coffered Ceilings in Kitchen, Great Room and Master Bedroom

Spacious Walk-In Showers w/Travertine Tile

Handi-cap Accommodations

Closet Systems – All Bedrooms

Custom Wood Medicine Cabinets

Custom Laundry Room Cabinets

42” Gas Fireplaces w/Natural Gas Logs

Lighted Niches and Pot-shelves

Custom Entertainment Niches

See Reverse Side for FLOORPLAN